## Cost Item Import
Cost Code | Item | Description | Unit Cost | Unit | Markup % | Internal Notes | Cost Type
01 Plans and Permits | 01.0000.010 | Plans, on-site survey, conferences | 300 | EA | 50
02 Site Preparation | 02.3060. | Remove ceramic tile flooring in mud set | 2.82 | SF | 50
02 Site Preparation | 02.3240. | Remove non-bearing gypsum wall | 20.84 | LF | 50
02 Site Preparation | 02.4070. | Remove toilet | 150.54 | EA | 50
02 Site Preparation | 02.4100. | Remove fiberglass tub | 335.82 | EA | 50
02 Site Preparation | 02.4120. | Remove whirlpool tub | 509.52 | EA | 50
02 Site Preparation | 02.4150. | Remove 60" vanity and top | 237.39 | EA | 50
02 Site Preparation | 02.2180. | Remove single interior door | 48.36 | EA | 50
02 Site Preparation | 02.0110. | Remove 4" slab with pnuematic tool | 6.35 | SF | 50
02 Site Preparation | 02.0160. | Remove 12" unreinforced concrete wall | 16.71 | SF | 50
02 Site Preparation | 02.0200. | Remove 4" block wall by hand | 2.48 | SF | 50
02 Site Preparation | 02.0210. | Remove 8" block wall by hand | 3.14 | SF | 50
02 Site Preparation | 02.0240. | Remove 8" solid brick wall by hand | 12.69 | SF | 50
02 Site Preparation | 02.0260. | Remove 4" brick veneer wall w/pneum tool | 4.59 | SF | 50
02 Site Preparation | 02.0450. | Remove large exterior chimney | 47.97 | LF | 50
02 Site Preparation | 02.0460. | Remove large interior chimney | 73.17 | LF | 50
02 Site Preparation | 02.0470. | Remove fireplace, soft mortar | 487.8 | EA | 50
02 Site Preparation | 02.0510. | Saw concrete slab, per inch deep | 6.51 | LF | 50
02 Site Preparation | 02.0520. | Saw concrete wall, per inch deep | 17.88 | LF | 50
02 Site Preparation | 02.1000. | Remove entire frame wall | 43.2 | LF | 50
02 Site Preparation | 02.1010. | Install wood header ADD | 91.25 | LF | 50
02 Site Preparation | 02.1040. | Remove plywood siding | 1.02 | SF | 50
02 Site Preparation | 02.1070. | Remove aluminum or vinyl siding | 1.26 | SF | 50
02 Site Preparation | 02.1210. | Remove 1" x 12" fascia/soffit | 1.83 | LF | 50
02 Site Preparation | 02.1240. | Remove 12" roof overhang | 16.26 | LF | 50
02 Site Preparation | 02.1300. | Remove metal gutter | 2.6 | LF | 50
02 Site Preparation | 02.1480. | Remove plywood subfloor, nailed only | 1.83 | SF | 50
02 Site Preparation | 02.1490. | Remove plywood subfloor, nailed & glued | 2.36 | SF | 50
02 Site Preparation | 02.1500. | Remove 1" x 8" roof sheathing | 1.26 | SF | 50
02 Site Preparation | 02.1530. | Remove rafters | 1.79 | SF | 50
02 Site Preparation | 02.2070. | Remove porch roof structure, up to 240 SF | 1105.68 | EA | 50
02 Site Preparation | 02.2080. | Remove complete deck surface & framing | 4.35 | SF | 50
02 Site Preparation | 02.2090. | Remove deck surface only | 2.6 | SF | 50
02 Site Preparation | 02.2140. | Remove single exterior door | 106.5 | EA | 50
02 Site Preparation | 02.2150. | Remove sliding glass door | 162.6 | EA | 50
02 Site Preparation | 02.2160. | Remove 9' x 7' garage door | 235.77 | EA | 50
02 Site Preparation | 02.2180. | Remove single interior door | 52.85 | EA | 50
02 Site Preparation | 02.2200. | Remove wood window, frame wall | 45.53 | EA | 50
02 Site Preparation | 02.2220. | Remove aluminum window, frame wall | 29.27 | EA | 50
02 Site Preparation | 02.2260. | Remove wood window, in masonry | 65.04 | EA | 50
02 Site Preparation | 02.2350. | Remove wood porch railing & spindles | 1.55 | LF | 50
02 Site Preparation | 02.3000. | Remove 2-1/4" x 25/32" nailed hardwood flooring | 1.76 | SF | 50
02 Site Preparation | 02.3001. | Remove laminate flooring | 1.95 | SF | 50
02 Site Preparation | 02.3010. | Remove hardwood flooring in mastic | 3.09 | SF | 50
02 Site Preparation | 02.3050. | Remove ceramic tile flooring in mastic | 2.12 | SF | 50
02 Site Preparation | 02.3060. | Remove ceramic tile flooring in mud set | 3.09 | SF | 50
02 Site Preparation | 02.3070. | Remove resilient tile or sheet goods | 0.77 | SF | 50
02 Site Preparation | 02.3080. | Remove carpet, tack strips, padding | 1.19 | SF | 50
02 Site Preparation | 02.3100. | Remove underlayment, nailed or stapled | 1.19 | SF | 50
02 Site Preparation | 02.3170. | Remove gypsum drywall ceiling | 0.77 | SF | 50
02 Site Preparation | 02.3210. | Remove ceiling tile, including metal grids | 1.83 | SF | 50
02 Site Preparation | 02.3230. | Remove insulation batt in open cavitiy | 0.5 | SF | 50
02 Site Preparation | 02.3240. | Remove non-bearing gypsum wall | 22.77 | LF | 50
02 Site Preparation | 02.3270. | Remove gypsum wall & install header | 35.7 | LF | 50
02 Site Preparation | 02.3330. | Replace gypsum wall w/header, flush | 59.33 | LF | 50
02 Site Preparation | 02.3400. | Remove gypsum drywall from wall | 0.57 | SF | 50
02 Site Preparation | 02.3410. | Remove gypsum lath & plaster from wall | 1.1 | SF | 50
02 Site Preparation | 02.3460. | Remove ceramic tile in mud from wall | 3.21 | SF | 50
02 Site Preparation | 02.3490. | Remove flagstone floor in mud set | 3.62 | SF | 50
02 Site Preparation | 02.4000. | Remove kitchen sink | 218.4 | EA | 50
02 Site Preparation | 02.4010. | Remove dishwasher | 162.24 | EA | 50
02 Site Preparation | 02.4020. | Remove disposal | 74.88 | EA | 50
02 Site Preparation | 02.4040. | Remove 20 gallon laundry sink | 143.52 | EA | 50
02 Site Preparation | 02.4070. | Remove toilet | 162.24 | EA | 50
02 Site Preparation | 02.4090. | Remove steel tub | 399.36 | EA | 50
02 Site Preparation | 02.4100. | Remove fiberglass tub | 361.92 | EA | 50
02 Site Preparation | 02.4110. | Remove fiberglass shower/tub | 436.8 | EA | 50
02 Site Preparation | 02.4120. | Remove whirlpool tub | 549.12 | EA | 50
02 Site Preparation | 02.4130. | Remove wall-hung or pedestal lavatory | 162.24 | EA | 50
02 Site Preparation | 02.4140. | Remove 19" vanity and top | 193.44 | EA | 50
02 Site Preparation | 02.4150. | Remove 60" vanity and top | 255.84 | EA | 50
02 Site Preparation | 02.4160. | Remove cast iron tub | 549.12 | EA | 50
02 Site Preparation | 02.4170. | Remove 30 gallon water heater | 162.24 | EA | 50
02 Site Preparation | 02.4200. | Remove lead shower pan, mud set tile | 546 | EA | 50
02 Site Preparation | 02.4210. | Remove small ceiling fixture | 40.05 | EA | 50
02 Site Preparation | 02.4220. | Remove large ceiling fixture | 64.08 | EA | 50
02 Site Preparation | 02.4235. | Remove wall fixture | 216.27 | EA | 50
02 Site Preparation | 02.4250. | Remove 48" fluorescent fixture | 48.06 | EA | 50
02 Site Preparation | 02.4260. | Remove switch or duplex outlet | 24.03 | EA | 50
02 Site Preparation | 02.4270. | Remove 220 volt outlet | 32.04 | EA | 50
02 Site Preparation | 02.4290. | Remove kitchen or bathroom exhaust fan | 56.07 | EA | 50
02 Site Preparation | 02.5000. | Remove basement stairs, no patching | 70.74 | EA | 50
02 Site Preparation | 02.5020. | Remove main stairs, average, no patching | 329.4 | EA | 50
02 Site Preparation | 02.5050. | Remove kitchen cabinet | 20.25 | LF | 50
02 Site Preparation | 02.5060. | Remove countertop, no disconnect included | 3.45 | LF | 50
02 Site Preparation | 02.5061. | Remove laminate countertop | 4.35 | LF | 50
02 Site Preparation | 02.5062. | Remove solid surface granite countertop | 20.25 | LF | 50
02 Site Preparation | 02.5070. | Remove baseboard & shoe | 0.57 | LF | 50
02 Site Preparation | 02.5080. | Remove baseboard, store for reuse | 0.81 | LF | 50
02 Site Preparation | 02.5090. | Remove door & window moulding, 1 piece | 0.89 | LF | 50
02 Site Preparation | 02.5100. | Remove door & window moulding, 2 piece | 1.14 | LF | 50
02 Site Preparation | 02.5230. | Remove 4" x 8" ductwork | 3.9 | LF | 50
02 Site Preparation | 02.5350. | Remove 6" round ductwork | 3.54 | LF | 50
02 Site Preparation | 02.5360. | Remove 8" flex ductwork | 2.93 | LF | 50
02 Site Preparation | 02.8000. | Remove shingles, up to 8/12 slope, 1 layer | 1.1 | SF | 50
02 Site Preparation | 02.8010. | Remove shingles, over 8/12 slope, 1 layer | 1.43 | SF | 50
02 Site Preparation | 02.8150. | Remove cedar shingle roof, up to 8/12 slope | 1.5 | SF | 50
03 Excavation | 03.1000. | Machine excavate, including operator | 1202.25 | EA | 50
03 Excavation | 03.1050. | Machine backfill, no rough grading | 604.56 | EA | 50
03 Excavation | 03.1060. | Machine backfill, PLUS per SF | 0.35 | +SF | 50
03 Excavation | 03.1210. | Excavate to 3'-0", PLUS per SF | 0.83 | +SF | 50
03 Excavation | 03.1270. | Excavate to 9'-0", PLUS per SF | 2.34 | +SF | 50
03 Excavation | 03.1310. | Machine dig footings trench, PLUS per LF | 2.82 | +LF | 50
04 Concrete | 04.0010. | Concrete wall, 8" thick, 36" high, chute | 93.39 | LF | 50
04 Concrete | 04.0020. | Concrete wall, 8" thick, 48" high, chute | 118.23 | LF | 50
04 Concrete | 04.0060. | Concrete wall, 8" thick, 96" high, chute | 217.8 | LF | 50
04 Concrete | 04.0620. | Concrete wall, 8" thick, 36" high, PLUS per LF | 100.97 | +LF | 50
04 Concrete | 04.0670. | Concrete wall, 8" thick, 96" high, PLUS per LF | 237.56 | +LF | 50
04 Concrete | 04.1110. | 8" x 16" footing, 36" BG, PLUS per LF | 19.05 | +LF | 50
04 Concrete | 04.1710. | 8" x 16" footing, 36" BG, PLUS per LF | 23.25 | +LF | 50
04 Concrete | 04.4000. | Continuous footings, SOF = 8" x 16" | 35.57 | LF | 50
04 Concrete | 04.5200.010 | 8" round pier footing/36"deep | 128.3 | EA | 50
04 Concrete | 04.5250. | 12" round sonotube pier footing, BFG = 36" | 181.97 | EA | 50
04 Concrete | 04.5420. | 16" round sonotube pier footing, BFG = 36" | 183.26 | EA | 50
04 Concrete | 04.6000. | Monolithic footing & slab, chute pour | 10.95 | SF | 50
04 Concrete | 04.6300. | 3" basement slab, no digging, chute pour | 10.26 | SF | 50
04 Concrete | 04.6303. | 2" Dust Cover or Rat Slab | 6.03 | SF | 50
04 Concrete | 04.6310. | 4" basement slab, no digging, chute pour | 11.13 | SF | 50
04 Concrete | 04.6320. | 5" basement slab, no digging, chute pour | 12.24 | SF | 50
04 Concrete | 04.6400. | 4" exterior slab, on grade, chute pour | 10.35 | SF | 50
04 Concrete | 04.6410. | 5" exterior slab, on grade, chute pour | 11.06 | SF | 50
04 Concrete | 04.6700. | Slab & steps, 6' x 4', 12" tread | 755.58 | EA | 50
04 Concrete | 04.7000. | Driveway, 4" concrete slab, #10WWM | 10.13 | SF | 50
04 Concrete | 04.7010. | Apron, 4" concrete, #10WWM | 11.07 | SF | 50
04 Concrete | 04.7040. | 4" concrete sidewalk | 252.2 | EA | 50
05 Masonry | 05.0020. | Block wall on existing footings, 4" x 8" x 16" | 12.83 | SF | 50
05 Masonry | 05.0030. | Block wall on existing footings, 8" x 8" x 16" | 16.61 | SF | 50
05 Masonry | 05.0080. | Build brick veneer wall, 4" | 30.17 | SF | 50
05 Masonry | 05.0082. | Cultured stone veneer wall, 2" | 71.22 | SF | 50
05 Masonry | 05.0090. | Build solid brick wall, 8" | 52.62 | SF | 50
05 Masonry | 05.0091. | Cultured Stone | 50.82 | SF | 50
05 Masonry | 05.4000. | Brick patio on ground in sand | 40.04 | SF | 50
05 Masonry | 05.4010. | Brick patio on existing slab in sand | 31.26 | SF | 50
05 Masonry | 05.5070. | 1/2" thick cement parging, 2 coats | 4.35 | SF | 50
06 Floor Framing | 06.0010. | 8" #17 steel beam on existing supports | 54.71 | LF | 50
06 Floor Framing | 06.0020. | 8" #24 steel beam on existing supports | 62.73 | LF | 50
06 Floor Framing | 06.0060. | 2 wood beams on existing supports, 2" x 10" | 11.84 | LF | 50
06 Floor Framing | 06.0090. | 3 wood beams on existing supports, 2" x 10" | 16.88 | LF | 50
06 Floor Framing | 06.0310. | LVL wood beams, two 1-3/4" x 11-7/8" | 26.67 | LF | 50
06 Floor Framing | 06.1050. | 2" x 6" sleepers with PT lumber | 4.4 | SF | 50
06 Floor Framing | 06.1080. | 2" x 8" first floor joists, 16" OC | 5.13 | SF | 50
06 Floor Framing | 06.1090. | 2" x 10" first floor joists, 16" OC | 6 | SF | 50
06 Floor Framing | 06.1100. | 2" x 12" first floor joists, 16" OC | 6.77 | SF | 50
06 Floor Framing | 06.1110. | 2" x 6" second floor joists, 16" OC | 4.22 | SF | 50
06 Floor Framing | 06.1130. | 2" x 10" second floor joists, 16" OC | 6.17 | SF | 50
06 Floor Framing | 06.1230. | Pressure-treated 2" x 4" mudsill, bolts 4' OC | 4.53 | LF | 50
06 Floor Framing | 06.1250. | Pressure-treated 2" x 8" mudsill, bolts 4' OC | 5.99 | LF | 50
06 Floor Framing | 06.1260. | 1/2" oriented strand board subfloor | 2.25 | SF | 50
06 Floor Framing | 06.1280. | 3/4" oriented strand board subfloor | 2.72 | SF | 50
06 Floor Framing | 06.1300. | 3/4" OSB T&G sheathing subfloor | 3.54 | SF | 50
07 Wall Framing | 07.0000. | 2" x 4" framed bearing wall | 3.09 | SF | 50
07 Wall Framing | 07.0000. |  | 3.35 | SF | 50
07 Wall Framing | 07.0030. | 2" x 4" framed non-bearing wall | 3.39 | SF | 50
07 Wall Framing | 07.0070. | 3-5/8" steel studs, 20 ga | 4.26 | SF | 50
07 Wall Framing | 07.1100. | Oriented strand board sheathing, 1/2" | 2.25 | SF | 50
08 Roof Framing | 08.0000. | 2" x 6" flat or shed roof framing | 3.32 | SF | 50
08 Roof Framing | 08.0010. | 2" x 8" flat or shed roof framing | 4.29 | SF | 50
08 Roof Framing | 08.0070. | 2" x 6" gable framing w/ 2" x 6" ceiling joists | 6.21 | SF | 50
08 Roof Framing | 08.0310. | Gable roof trusses, 2" x 4" chords, 24" OC | 5.28 | SF | 50
08 Roof Framing | 08.0350. | Scissors trusses, 2" x 4" chords, 16" OC | 9.86 | SF | 50
08 Roof Framing | 08.0360. | Scissors trusses, 2" x 4" chords, 24" OC | 6.74 | SF | 50
08 Roof Framing | 08.0370. | Scissors trusses, 2" x 6" chords, 16" OC | 12.8 | SF | 50
08 Roof Framing | 08.1050. | 1/2" oriented strand board sheathing | 2.1 | SF | 50
09 Roofing, Flashing | 09.0140.010 | Asphalt/fiberglass shingle 300lb 4-6/12 | 4.16 | SF | 50
09 Roofing, Flashing | 09.0150. | Asphalt/fiberglass shingles, 300 LB, 7-12/12 | 6.3 | SF | 50
09 Roofing, Flashing | 09.0160. | Asphalt/fiberglass shingles, 375 LB, 4-6/12 | 6.09 | SF | 50
09 Roofing, Flashing | 09.0290. | Single ply roof over wood roof deck | 813 | EA | 50
09 Roofing, Flashing | 09.0300. | Single ply roof, PLUS per SF | 7.28 | +SF | 50
09 Roofing, Flashing | 09.4150. | Metal roof, 26 Ga steel, color coat | 2140.56 | EA | 50
09 Roofing, Flashing | 09.4160. | Metal roof, standing seam, PLUS per SF | 12.17 | +SF | 50
09 Roofing, Flashing | 09.6150. | Replace asphalt/fiberglass shingles, up to 10 | 511.59 | EA | 50
09 Roofing, Flashing | 09.7020. | Aluminum stepflashing in brick open joints | 22.04 | LF | 50
09 Roofing, Flashing | 09.7040. | Aluminum stepflashing on wood sheathing | 24.89 | LF | 50
09 Roofing, Flashing | 09.7140. | Flash plumbing vent | 95.18 | EA | 50
09 Roofing, Flashing | 09.7170. | Aluminum painted ridge vent, cut opening | 20.52 | LF | 50
09 Roofing, Flashing | 09.7180. | Vinyl colored ridge vent, cut opening | 20.76 | LF | 50
09 Roofing, Flashing | 09.7200. | Vinyl colored ridge vent, install only | 14.69 | LF | 50
09 Roofing, Flashing | 09.7420. | Seamless aluminum, 5" gutter & 2" x 3" downspout | 14.07 | LF | 50
09 Roofing, Flashing | 09.7420.AA0 | 5" seamless aluminum gutter | 5.25 | LF | 50
09 Roofing, Flashing | 09.7430. | Seamless aluminum, 6" gutter & 3" x 4" downspout | 19.02 | LF | 50
10 Exterior Trim, Decks | 10.0000. | Fascia or frieze, #2 pine/spruce/fir, 1" x 6" | 4.65 | LF | 50
10 Exterior Trim, Decks | 10.1010. | Aluminum soffit, 12" | 7.32 | LF | 50
10 Exterior Trim, Decks | 10.1050. | Aluminum fascia or rake, 6" | 3.68 | LF | 50
10 Exterior Trim, Decks | 10.1060. | Aluminum fascia or rake, 8" | 4.32 | LF | 50
10 Exterior Trim, Decks | 10.1200. | Vinyl soffit, 12" | 8.42 | LF | 50
10 Exterior Trim, Decks | 10.1230. | Aluminum wrap trim, exterior window/door | 81.36 | EA | 50
10 Exterior Trim, Decks | 10.2010. | Galvanized post anchor, 6" x 6" | 49.95 | EA | 50
10 Exterior Trim, Decks | 10.2060. | Pressure treated fir/pine posts, 6" x 6", 8 ft | 91.83 | EA | 50
10 Exterior Trim, Decks | 10.2330. | Beam or header, double thick, 2" x 10" | 14.3 | LF | 50
10 Exterior Trim, Decks | 10.2410. | 2" x 6" deck joists, PLUS per SF | 4.8 | +SF | 50
10 Exterior Trim, Decks | 10.2430. | 2" x 10" deck joists, PLUS per SF | 5.84 | +SF | 50
10 Exterior Trim, Decks | 10.3000. | Deck surface, PT fir/pine, 5/4" x 6" | 9.83 | SF | 50
10 Exterior Trim, Decks | 10.3050. | Deck surface, wood-polymer, 5/4" x 6" | 11.82 | SF | 50
10 Exterior Trim, Decks | 10.4000. | Built-up pine/fir post, 2" x 4" with 1" x 6" cover, 8 ft | 142.56 | EA | 50
10 Exterior Trim, Decks | 10.4210. | Pine V-joint porch ceiling, 1" x 6" | 9.93 | SF | 50
10 Exterior Trim, Decks | 10.4230. | Porch ceiling, 5/8" x 4" fir beaded/V-joint | 6.09 | SF | 50
10 Exterior Trim, Decks | 10.4240. | Porch ceiling, vinyl double 5" panels | 6.14 | SF | 50
10 Exterior Trim, Decks | 10.4400. | Pine header trim, 6" soffit, 1" x 10" fascia | 20.03 | LF | 50
10 Exterior Trim, Decks | 10.4450. | Aluminum screen with 2" x 4" framing | 6.71 | SF | 50
10 Exterior Trim, Decks | 10.4500. | Economy grade iron railing | 44.96 | LF | 50
10 Exterior Trim, Decks | 10.4510. | Premium grade iron railing | 50.34 | LF | 50
10 Exterior Trim, Decks | 10.5000. | Pressure treated fir/pine steps, 4 foot wide | 90.72 | EA | 50
10 Exterior Trim, Decks | 10.5020. | Red cedar steps, 4 foot wide | 152.55 | EA | 50
11 Sidings | 11.0020. | House wrap, sub for paper, ADD per SF | 0.36 | SF | 50
11 Sidings | 11.0030. | 1/2" x 4" beveled cedar siding | 15.05 | SF | 50
11 Sidings | 11.0210. | 1" x 8" cedar tongue & groove siding | 15.66 | SF | 50
11 Sidings | 11.1000. | Siding, 16" cedar shingle, 5" exp | 9.2 | SF | 50
11 Sidings | 11.2050. | Hardboard siding, rough sawn, primed | 4.1 | SF | 50
11 Sidings | 11.2080. | Hardboard siding, stucco, prefinished | 6.02 | SF | 50
11 Sidings | 11.2130. | 1" x 4" battens | 2.88 | LF | 50
11 Sidings | 11.2201. | 7-1/4" wood fiber cement siding 6" exp | 2.78 | SF | 50
11 Sidings | 11.2230. | 12" wood fiber cement siding, 10-3/4" exp | 5.3 | SF | 50
11 Sidings | 11.3070. | 5/8" pine T1-11 plywood siding | 3.98 | SF | 50
11 Sidings | 11.4060. | 8" double 4" vinyl siding | 4.98 | SF | 50
11 Sidings | 11.4060.AA0 | 8" double 4 vinyl siding | 3.33 | SF | 50
11 Sidings | 11.4090. | 12" vertical board vinyl siding | 4.86 | SF | 50
12 Doors and Trim | 12.1370. | French double exterior door, 6-0 x 6-8 | 1938.15 | SET | 50
12 Doors and Trim | 12.2370. | Pre-hung french double door, 6-0 x 6-8 | 1700.37 | SET | 50
12 Doors and Trim | 12.3000. | Pre-hung exterior metal flush door, 2-8 x 6-8 | 612.72 | EA | 50
12 Doors and Trim | 12.3010. | Pre-hung exterior metal flush door, 3-0 x 6-8 | 612.72 | EA | 50
12 Doors and Trim | 12.3060. | Pre-hung exterior metal 6 panel door, 3-0 x 6-8 | 583.74 | EA | 50
12 Doors and Trim | 12.3110. | Pre-hung ext metal door, 4 panel 2 light, 3-0 x 6-8 | 770.04 | EA | 50
12 Doors and Trim | 12.3160. | Pre-hung metal door, 2 panel 1 light, 3-0 x 6-8 | 774.18 | EA | 50
12 Doors and Trim | 12.3210. | Pre-hung metal door, 4 panel w/fan light, 3-0 x 6-8 | 794.88 | EA | 50
12 Doors and Trim | 12.3264. | Prehung ext. fiberglass entry door,3-0 x 6-8 | 612.72 | EA | 50
12 Doors and Trim | 12.3268. | Prehung ext. fiberglass 6 panel entry door 3-0 x 6-8 | 583.74 | EA | 50
12 Doors and Trim | 12.3274. | Prehung ext. fiberglass 2 panel 1 lite door 2-8 x 6-8 | 774.18 | EA | 50
12 Doors and Trim | 12.3276. | Prehung ext. fiberglass 2 panel 1 lite door 3-0 x 6-8 | 774.18 | EA | 50
12 Doors and Trim | 12.3280. | Prehung ext. fiberglass 4 panel w fan lite 3-0 x 6-8 | 794.88 | EA | 50
12 Doors and Trim | 12.3300. | Wood gliding patio door, 2 panel econ, 6-0 x 6-8 | 1503.72 | EA | 50
12 Doors and Trim | 12.3350. | Wood gliding patio door, 2 panel bldr, 6-0 x 6-8 | 1710.72 | EA | 50
12 Doors and Trim | 12.3430. | Wood gliding patio door, 3 panel prem, 12-0 x 6-8 | 3695.85 | EA | 50
12 Doors and Trim | 12.3540. | Wood atrium patio door, 2 panel prem, 6-0 x 6-8 | 2056.32 | EA | 50
12 Doors and Trim | 12.3610. | Aluminum gliding patio door, 2 panel, 6-0 x 6-8 | 1069.74 | EA | 50
12 Doors and Trim | 12.3660. | Aluminum gliding patio door, 3 panel, 12-0 x 6-8 | 2108.85 | EA | 50
12 Doors and Trim | 12.4060. | Metal garage door, 9-0 x 7-0 | 968.94 | EA | 50
12 Doors and Trim | 12.4070. | Metal garage door, 16-0 x 7-0 | 1619.64 | EA | 50
12 Doors and Trim | 12.4150. | Garage door operator, 1/4 HP, 1 car set | 804.02 | EA | 50
12 Doors and Trim | 12.4200. | Garage door operator, 1/3 HP, 1 car set | 882.68 | EA | 50
12 Doors and Trim | 12.4360. | Self-storing aluminum door, premium white | 380.01 | EA | 50
12 Doors and Trim | 12.4364. | Self-storing 3/4 Lite aluminum door, premium | 721.62 | EA | 50
12 Doors and Trim | 12.4500. | Storm/screen wood door | 452.24 | EA | 50
13 Windows and Trim | 13.C050. | WDH aluminum/vinyl, 2 light, 2-0 x 5-2 | 600.84 | EA | 50
13 Windows and Trim | 13.C350. | WDH aluminum/vinyl, 2 light, 3-0 x 5-2 | 768.51 | EA | 50
13 Windows and Trim | 13.D530. | Alum/vinyl clad awning, 1 wide, 3-0 x 1-6 | 532.53 | EA | 50
13 Windows and Trim | 13.D570. | Alum/vinyl clad awning, 1 wide, 3-6 x 1-6 | 573.93 | EA | 50
13 Windows and Trim | 13.E760. | Alum/vinyl casement, insul glass, 2-0 x 5-0 | 722.88 | EA | 50
13 Windows and Trim | 13.E870. | Alum/vinyl casement, insul glass, 2-6 x 5-6 | 859.5 | EA | 50
13 Windows and Trim | 13.G620. | Alum/vinyl clad picture, insul glass, 4-0 x 3-0 | 635.58 | EA | 50
13 Windows and Trim | 13.H210. | Alum/vinyl clad transom/insul gl, 4-0 x 3-0 | 863.28 | EA | 50
13 Windows and Trim | 13.J880. | Alum/vinyl clad bow, 5 piece, 10-2 x 4-7 | 4591.53 | EA | 50
13 Windows and Trim | 13.K420. | Alum/vinyl clad bay DH 45 deg, 8-8 x 4-10 | 3990.33 | EA | 50
13 Windows and Trim | 13.K840. | Alum/vinyl clad bay casement 45 deg, 9-4 x 5-2 | 4646.52 | EA | 50
13 Windows and Trim | 13.L020. | Venting skylight, existing opening, 21" x 46" | 998.1 | EA | 50
13 Windows and Trim | 13.N500. | Vinyl double hung, insul glass, 2-0 x 3-0 | 497.7 | EA | 50
13 Windows and Trim | 13.N620. | Vinyl double hung, insul glass, 2-6 x 4-0 | 574.13 | EA | 50
13 Windows and Trim | 13.N700. | Vinyl double hung, insul glass, 3-0 x 3-0 | 560.63 | EA | 50
13 Windows and Trim | 13.N720. | Vinyl double hung, insul glass, 3-0 x 4-0 | 603.33 | EA | 50
13 Windows and Trim | 13.N760. | Vinyl double hung, insul glass, 3-0 x 5-0 | 652.79 | EA | 50
13 Windows and Trim | 13.P250. | Viinyl picture window, insul glass, 4-0 x 4-6 | 551.64 | EA | 50
13 Windows and Trim | 13.P300. | Viinyl picture window, insul glass, 5-0 x 2-0 | 477.47 | EA | 50
13 Windows and Trim | 13.P370. | Viinyl picture window, insul glass, 5-0 x 5-6 | 738.17 | EA | 50
13 Windows and Trim | 13.Q240. | Vinyl casement, insul glass, 1 wide, 2-0 x 4-0 | 603.77 | EA | 50
13 Windows and Trim | 13.Q420. | Vinyl casement, insul glass, 2 wide, 3-3 x 3-0 | 944.51 | EA | 50
13 Windows and Trim | 13.R020. | Vinyl sliding, insul glass, 2 sash, 3-0 x 3-0 | 471.17 | EA | 50
13 Windows and Trim | 13.R100. | Vinyl sliding, insul glass, 2 sash, 4-0 x 2-0 | 484.67 | EA | 50
13 Windows and Trim | 13.R120. | Vinyl sliding, insul glass, 2 sash, 4-0 x 3-0 | 592.53 | EA | 50
13 Windows and Trim | 13.R260. | Vinyl sliding, insul glass, 2 sash, 5-0 x 5-0 | 857.73 | EA | 50
13 Windows and Trim | 13.S120. | Replace w/vinyl DH, up to 72 UI | 532.35 | EA | 50
14 Plumbing | 14.1020.010 | Toilet, new work, 2 piece, white | 400 | EA | 50
14 Plumbing | 14.1090. | Install new fiberglass bathtub | 3900 | EA | 50
14 Plumbing | 14.1120.010 | Stall shower, new work, install plumbing | 2367.44 | EA | 50
14 Plumbing | 14.1350.010 | Lavatory/vanity, 21D 60W/lav 20x18 | 4200 | EA | 50
14 Plumbing | 14.0000. | Install new outside frost-free spigot | 401.64 | EA | 50
14 Plumbing | 14.0030. | Extend gas line inside building | 44.67 | LF | 50
14 Plumbing | 14.0040. | Replace basement water pipes | 2359.23 | EA | 50
14 Plumbing | 14.0090. | Raise vent through roof up to10 LF | 343.86 | EA | 50
14 Plumbing | 14.0140. | Waste line below ground | 102.63 | LF | 50
14 Plumbing | 14.1020.010 | Toilet, new work, 2 piece, white | 887.58 | EA | 50
14 Plumbing | 14.1090. | Install new fiberglass bathtub | 3205.89 | EA | 50
14 Plumbing | 14.1110. | Install new fiberglass bathtub with whirlpool | 7257.44 | EA | 50
14 Plumbing | 14.1120.010 | Stall shower, new work, install plumbing | 2367.44 | EA | 50
14 Plumbing | 14.1130.010 | Stall shower, new work, fiberglass | 3254.27 | EA | 50
14 Plumbing | 14.1150. | Bidet, new work, white | 1629.03 | EA | 50
14 Plumbing | 14.1200. | Lavatory, new work, 20" x 18" wall hung | 1164 | EA | 50
14 Plumbing | 14.1250. | Pedestal sink, new work | 1540.59 | EA | 50
14 Plumbing | 14.1300. | Lavatory/vanity, new, 21" x 24" | 935.46 | EA | 50
14 Plumbing | 14.1320.010 | Lavatory/vanity, 21D 36W/lav 20x18 | 2952.5 | EA | 50
14 Plumbing | 14.1340. | Lavatory/vanity, new, 21" x 48" | 1214.37 | EA | 50
14 Plumbing | 14.1350.010 | Lavatory/vanity, 21D 60W/lav 20x18 | 3492.83 | EA | 50
14 Plumbing | 14.2000. | Replace 2 piece toilet, white | 924.15 | EA | 50
14 Plumbing | 14.2070. | Replace with steel tub | 2162.22 | EA | 50
14 Plumbing | 14.2110. | Replace shower stall, install plumbing | 1767.05 | EA | 50
14 Plumbing | 14.2310. | Replace lavaratory in vanity, 21" x 30" | 971.67 | EA | 50
14 Plumbing | 14.2320. | Replace lavaratory in vanity, 21" x 36" | 1067.58 | EA | 50
14 Plumbing | 14.2400. | Remove & replace toilet | 401.24 | EA | 50
14 Plumbing | 14.2430. | Remove & replace lavatory and vanity | 710.4 | EA | 50
14 Plumbing | 14.3000. | Install new kitchen sink | 2554.59 | EA | 50
14 Plumbing | 14.3002. | Sink, kitchen, new, rough & install | 1707.39 | EA | 50
14 Plumbing | 14.3010. | Install new bar sink | 2183.22 | EA | 50
14 Plumbing | 14.3020. | Install new 1/2 HP disposer in existing sink | 835.97 | EA | 50
14 Plumbing | 14.3040. | Install new builder grade dishwasher | 1468.25 | EA | 50
14 Plumbing | 14.3070. | Install new laundry tub, 20 gallon polyproylene | 1830.84 | EA | 50
14 Plumbing | 14.3080. | Install new economy clothes washer | 2048.19 | EA | 50
14 Plumbing | 14.3090. | Install new builder grade clothes washer | 2247.32 | EA | 50
14 Plumbing | 14.3190. | Install free standing gas range/oven, builder | 1649.69 | EA | 50
14 Plumbing | 14.3200. | Install free standing gas range/oven, premium | 2512.56 | EA | 50
14 Plumbing | 14.3230. | Icemaker line more than 5' to sink, ADD | 5.91 | LF | 50
14 Plumbing | 14.5010. | 40 gallon gas hot water heater, new work | 1576.35 | EA | 50
14 Plumbing | 14.5065. | Tankless electric hot water heater, new work | 2037.81 | EA | 50
15 Heating and Cooling | 15.2040. | 30 KW electric furnace on existing ducts | 4484.49 | EA | 50
15 Heating and Cooling | 15.2050. | 10 KW, 2 ton heat pump, existing ducts | 9046.25 | EA | 50
15 Heating and Cooling | 15.2060. | 15 KW, 2.5 ton heat pump, existing ducts | 10188.75 | EA | 50
15 Heating and Cooling | 15.2070. | 19 KW, 3 ton heat pump, existing ducts | 11885.39 | EA | 50
15 Heating and Cooling | 15.2300. | Wall heater, 12" x 12", 1,250 Watt | 540.9 | EA | 50
15 Heating and Cooling | 15.2400. | 60,000 BTU gas furnace, AHA = 750 SF | 2010.66 | EA | 50
15 Heating and Cooling | 15.2410. | 80,000 BTU gas furnace, AHA = 1,000 SF | 2401.11 | EA | 50
15 Heating and Cooling | 15.3040. | 2.5 ton air cond/existing furnace, ACA = 1,500 SF | 4304.25 | EA | 50
15 Heating and Cooling | 15.3120. | Install heat register in existing duct | 305.1 | EA | 50
15 Heating and Cooling | 15.3130. | Extend ductwork into area within 10 feet | 930.15 | EA | 50
15 Heating and Cooling | 15.3140. | Extend ductwork into basement | 27.59 | LF | 50
16 Electrical | 16.1080. | Ground fault outlet (GFIC) | 227.25 | EA | 50
16 Electrical | 16.1210. | Recessed 6" round fixture | 142.8 | EA | 50
16 Electrical | 16.2030.010 | Bathroom exhaust fan/light | 455.82 | EA | 50
16 Electrical | 16.0000. | Increase service to 150 amps | 1991.73 | EA | 50
16 Electrical | 16.0010. | Increase service to 200 amps | 3082.25 | EA | 50
16 Electrical | 16.1000. | Duplex outlet | 127.25 | EA | 50
16 Electrical | 16.1050. | Dishwasher outlet | 228.26 | EA | 50
16 Electrical | 16.1070. | Appliance outlet | 205.97 | EA | 50
16 Electrical | 16.1080. | Ground fault outlet (GFIC) | 247.97 | EA | 50
16 Electrical | 16.1120. | First floor 220 volt outlet | 499.76 | EA | 50
16 Electrical | 16.1130. | Second floor 220 volt outlet | 596.82 | EA | 50
16 Electrical | 16.1150. | Single-pole switch | 127.25 | EA | 50
16 Electrical | 16.1160. | Three-way switch, set | 240.08 | EA | 50
16 Electrical | 16.1200. | Ceiling/wall fixture, outlet only | 127.25 | EA | 50
16 Electrical | 16.1210. | Recessed 6" round fixture | 155.67 | EA | 50
16 Electrical | 16.1220.010 | Recessed 6" round fixture w/lens | 175.32 | EA | 50
16 Electrical | 16.1230. | Wall mount fixture, two 40 watt lamps | 178.13 | EA | 50
16 Electrical | 16.1250. | 24", 4 lamp strip fixture | 168.27 | EA | 50
16 Electrical | 16.1260. | 36", 5 lamp strip fixture | 187.98 | EA | 50
16 Electrical | 16.1270. | 48", 6 lamp strip fixture | 207.71 | EA | 50
16 Electrical | 16.1280. | 60", 7 lamp strip fixture | 227.42 | EA | 50
16 Electrical | 16.1300. | Outside spotlight, two lamp positions | 144.62 | EA | 50
16 Electrical | 16.1350. | Fluorescent light fixture 4'-0" (2 tube) | 196.11 | EA | 50
16 Electrical | 16.1360. | Fluorescent light fixture 4'-0" (4 tube) | 253.53 | EA | 50
16 Electrical | 16.1400. | Low voltage halogen, feed & install | 720.69 | EA | 50
16 Electrical | 16.2000. | Bathroom exhaust fan | 439.65 | EA | 50
16 Electrical | 16.2010. | Bathroom exhaust fan w/1,000 watt heater | 526.8 | EA | 50
16 Electrical | 16.2030.010 | Bathroom exhaust fan/light | 455.82 | EA | 50
16 Electrical | 16.2040. | 30" range hood, ducted, under cabinet | 518.46 | EA | 50
16 Electrical | 16.2050. | 36" range hood, ducted, under cabinet | 526.8 | EA | 50
16 Electrical | 16.2240. | Smoke detector, hard-wired | 268.65 | EA | 50
16 Electrical | 16.2300.010 | Install ceiling fan | 381.84 | EA | 50
17 Insulation | 17.0010. | Unfaced blanket insulation, R-19 6-1/4" | 2.45 | SF | 50
17 Insulation | 17.0160. | Kraftback blanket insulation, R-19 6-1/4" | 2.49 | SF | 50
17 Insulation | 17.0170. | Kraftback blanket insulation, R-30 10" | 3.39 | SF | 50
17 Insulation | 17.0180. | Kraftback blanket insulation, R-38 12" | 4.56 | SF | 50
17 Insulation | 17.0320. | 2" perimeter insulation | 6.81 | LF | 50
17 Insulation | 17.0350. | Kraftback blanket insulation, R-13 3-1/2" | 2.07 | SF | 50
17 Insulation | 17.2220. | R-43 12" blown in cellulose | 5.16 | SF | 50
17 Insulation | 17.3050. | Vapor barrier, 4 mil in crawlspace | 0.57 | SF | 50
18 Interior Walls | 18.0070.AA0 | 1/2" gypsum drywall new work | 3.51 | SF | 50
18 Interior Walls | 18.2010. | Ceramic tile w/board in shower | 22.69 | SF | 50
18 Interior Walls | 18.0030. | 1/2" FC drywall under 300 SF, PLUS per SF | 2.31 | +SF | 50
18 Interior Walls | 18.0070.AA0 | 1/2" gypsum drywall new work | 1.71 | SF | 50
18 Interior Walls | 18.2000.010 | Ceramic tile w/board in shower | 26.15 | SF | 50
18 Interior Walls | 18.2010. | Ceramic tile w/board in shower @ $4.00 SF | 46.37 | SF | 50
18 Interior Walls | 18.2011. | Ceramic tile backsplash @$4.00SF | 35.76 | SF | 50
18 Interior Walls | 18.2050. | Ceramic tile on existing board @ $2.00 SF | 33.03 | SF | 50
18 Interior Walls | 18.2060. | Ceramic tile on existing board @ $4.00 SF | 36.96 | SF | 50
18 Interior Walls | 18.3150. | Plywood paneling @ $45.00/sheet, no mould | 5.16 | SF | 50
18 Interior Walls | 18.3160. | 3/4" knotty pine v-joint paneling | 9.2 | SF | 50
18 Interior Walls | 18.4000. | Patch drywall holes/cracks | 385.2 | EA | 50
19 Ceiling Covering | 19.0330. | Patching drywall ceiling, holes/cracks | 395.97 | EA | 50
19 Ceiling Covering | 19.0070.AA0 | 1/2" drywall on ceiling | 1.8 | SF | 50
19 Ceiling Covering | 19.0330. | Patching drywall ceiling, holes/cracks | 430.14 | EA | 50
19 Ceiling Covering | 19.2250. | Grid system, 24" x 24", @ $.75/SF | 6.42 | SF | 50
19 Ceiling Covering | 19.2260. | Grid system, 24" x 24", @ $.80/SF | 6.5 | SF | 50
20 Millwork, Trim | 20.0020. | Pine clam/ranch/colonial base trim, 3-1/4" | 4.47 | LF | 50
20 Millwork, Trim | 20.2120. | Birch plywood (3/4") built-in bookcase, 16" shelves | 26.66 | SF | 50
20 Millwork, Trim | 20.8320. | Colonial panel pocket door, 2-6 x 6-8 | 675.32 | EA | 50
20 Millwork, Trim | 20.0020. | Pine clam/ranch/colonial base trim, 3-1/4" | 4.83 | LF | 50
20 Millwork, Trim | 20.0030. | Pine clam/ranch/colonial base trim, 4-1/4" | 6.36 | LF | 50
20 Millwork, Trim | 20.0040. | Pine clam/ranch/colonial base trim, 5-1/4" | 7.67 | LF | 50
20 Millwork, Trim | 20.0060. | Oak base trim, 3-1/4" | 9.38 | LF | 50
20 Millwork, Trim | 20.0070. | Hardwood shoe mould, 1/2" x 3/4" | 3.63 | LF | 50
20 Millwork, Trim | 20.0440. | Mantel shelf, oak - economy | 416.04 | EA | 50
20 Millwork, Trim | 20.1250. | Trim existing interior window, 2-0 x 3-2 | 122.16 | EA | 50
20 Millwork, Trim | 20.1260. | Trim existing interior window, 3-0 x 5-2 | 145.02 | EA | 50
20 Millwork, Trim | 20.1320. | Trim existing door opening, fingerjoint 6-0 x 6-8 | 77.91 | EA | 50
20 Millwork, Trim | 20.1330. | Trim existing door opening, solid 3-0 x 6-8 | 83.94 | EA | 50
20 Millwork, Trim | 20.2120. | Birch plywood (3/4") built-in bookcase, 16" shelves | 28.88 | SF | 50
20 Millwork, Trim | 20.3000. | Clothes closet, 24" to 30" deep | 47.46 | LF | 50
20 Millwork, Trim | 20.3060. | Attic stairway, straight | 1289.43 | EA | 50
20 Millwork, Trim | 20.3070. | Attic stairway, with right angle turn | 1484.64 | EA | 50
20 Millwork, Trim | 20.3090. | Main stairway, one side open | 3685.77 | EA | 50
20 Millwork, Trim | 20.3100. | Main stairway, two sides open | 4379.4 | EA | 50
20 Millwork, Trim | 20.3110. | Main stairway, platform & turn, ADD | 607.32 | EA | 50
20 Millwork, Trim | 20.3120. | Wrought iron handrail, one side, ADD | 342.18 | EA | 50
20 Millwork, Trim | 20.3260. | New handrail on stairs | 221.25 | EA | 50
20 Millwork, Trim | 20.4000. | Wire closet system, bar/shelf | 126.9 | EA | 50
20 Millwork, Trim | 20.5430. | Double french pre-hung door, 15 light, 2-6 x 6-8 | 1277.07 | SET | 50
20 Millwork, Trim | 20.5910. | Hardboard 6 panel pre-hung door, 2-0 x 6-8 | 309.15 | EA | 50
20 Millwork, Trim | 20.5920. | Hardboard 6 panel pre-hung door, 2-4 x 6-8 | 313.29 | EA | 50
20 Millwork, Trim | 20.5930. | Hardboard 6 panel pre-hung door, 2-6 x 6-8 | 321.57 | EA | 50
20 Millwork, Trim | 20.5940. | Hardboard 6 panel pre-hung door, 2-8 x 6-8 | 325.71 | EA | 50
20 Millwork, Trim | 20.5950. | Hardboard 6 panel pre-hung door, 3-0 x 6-8 | 336.06 | EA | 50
20 Millwork, Trim | 20.6410. | Double french field-hung door, 15 light, 2-0 x 6-8 | 1479.86 | SET | 50
20 Millwork, Trim | 20.7240. | Colonial panel bi-fold, 4 doors, 6-0 x 6-8 | 450.69 | SET | 50
20 Millwork, Trim | 20.8000. | Birch HC sliding door, 4-0 x 6-8 | 397.68 | EA | 50
20 Millwork, Trim | 20.8010. | Birch HC sliding door, 5-0 x 6-8 | 414.36 | EA | 50
20 Millwork, Trim | 20.8300. | Colonial panel pocket door, 2-0 x 6-8 | 708.84 | EA | 50
20 Millwork, Trim | 20.8320. | Colonial panel pocket door, 2-6 x 6-8 | 731.61 | EA | 50
20 Millwork, Trim | 20.8330. | Colonial panel pocket door, 2-8 x 6-8 | 752.31 | EA | 50
20 Millwork, Trim | 20.8340. | Colonial panel pocket door, 3-0 x 6-8 | 775.08 | EA | 50
21 Kitchen Cabinets | 21.0000. | Economy grade base cabinets | 166.77 | LF | 50
21 Kitchen Cabinets | 21.1000. | Builder grade base cabinets | 237.15 | LF | 50
21 Kitchen Cabinets | 21.1010. | Builder grade wall cabinets | 158.49 | LF | 50
21 Kitchen Cabinets | 21.2000. | Premium grade base cabinets | 260.24 | LF | 50
21 Kitchen Cabinets | 21.2010. | Premium grade wall cabinets | 208.8 | LF | 50
21 Kitchen Cabinets | 21.3000. | Top quality grade base cabinet | 327 | LF | 50
21 Kitchen Cabinets | 21.3010. | Top quality grade wall cabinet | 258.48 | LF | 50
21 Kitchen Cabinets | 21.4000. | Economy grade refrigerator | 1298.7 | EA | 50
21 Kitchen Cabinets | 21.4010. | Builder grade refrigerator | 1754.1 | EA | 50
21 Kitchen Cabinets | 21.4040. | Builder grade electric clothes dryer | 1199.7 | EA | 50
21 Kitchen Cabinets | 21.4060. | Electric cooktop w/downdraft, 30" x 20" | 1728 | EA | 50
21 Kitchen Cabinets | 21.4070. | Single wall oven | 1011.6 | EA | 50
21 Kitchen Cabinets | 21.4100. | Builder grade electric range & oven | 1712.7 | EA | 50
21 Kitchen Cabinets | 21.4110. | Premium grade electric range & oven | 2602.8 | EA | 50
21 Kitchen Cabinets | 21.4130. | Builder grade microwave over range | 1656.9 | EA | 50
21 Kitchen Cabinets | 21.4140. | Premium grade microwave over range | 2008.8 | EA | 50
21 Kitchen Cabinets | 21.4200. | Countertop, 25" laminate - premium | 66.69 | LF | 50
21 Kitchen Cabinets | 21.4210. | Countertop, 25" laminate - top quality | 77.04 | LF | 50
21 Kitchen Cabinets | 21.4230. | Countertop, 3/4" solid surface | 316.71 | LF | 50
21 Kitchen Cabinets | 21.4232. | Countertop,1-1/2" Granite | 427.53 | LF | 50
21 Kitchen Cabinets | 21.4236. | Countertop,3/4" Quartz | 237.18 | LF | 50
21 Kitchen Cabinets | 21.4240. | Cutting board, installed in countertop | 380.97 | EA | 50
22 Specialties | 22.0080. | Mirror, 1/4", attach with clips/adhesive | 27.36 | SF | 50
22 Specialties | 22.0090. | Chrome bath accessory set | 318.36 | SET | 50
22 Specialties | 22.0120. | 36" grab bar | 120.48 | EA | 50
22 Specialties | 22.0250. | Glass Shower Enclosure | 4514.64 | EA | 50
22 Specialties | 22.0040. | Surface mount cab, 2 mirror doors, 24" x 16" | 287.1 | EA | 50
22 Specialties | 22.0080. | Mirror, 1/4", attach with clips/adhesive | 29.61 | SF | 50
22 Specialties | 22.0090. | Chrome bath accessory set | 345.06 | SET | 50
22 Specialties | 22.0100. | Chrome shower curtain rod, 5' | 77.76 | EA | 50
22 Specialties | 22.0120. | 36" grab bar | 130.41 | EA | 50
22 Specialties | 22.0170. | Shower bypass, aluminum, glass, 70" x 48" | 818.1 | EA | 50
22 Specialties | 22.0190. | Shower hinge door, 70" x 44" | 1700.1 | EA | 50
22 Specialties | 22.0200. | Neo-angle glass shower encl - aluminum | 1627.2 | EA | 50
22 Specialties | 22.0250. | Glass Shower Enclosure | 4899.96 | EA | 50
22 Specialties | 22.1150. | Plastic window shutters, no hinges, 1-6 x 5-2 | 133.02 | PR | 50
22 Specialties | 22.1310. | Pine interior shutters, hinged, 39" x 28" | 257.22 | SET | 50
22 Specialties | 22.1400. | Zero clearance metal fireplace | 2366.91 | EA | 50
23 Floor Covering | 23.2250.010 | Ceramic shower stall | 30.82 | SF | 50
23 Floor Covering | 23.0010. | Hardwood T&G floor, select | 15.47 | SF | 50
23 Floor Covering | 23.0030. | Prefinished oak floor, 25/32" x 2-1/4" | 20.61 | SF | 50
23 Floor Covering | 23.0050. | Hardwood floor toothed in, ADD | 43.2 | EA | 50
23 Floor Covering | 23.0110. | Dark stain floor finishing, old floor | 5.67 | SF | 50
23 Floor Covering | 23.1000. | Plywood underlayment, 3/8" | 2.61 | SF | 50
23 Floor Covering | 23.1220. | Premium vinyl tile floor, 12" x 12" | 9.95 | SF | 50
23 Floor Covering | 23.2110. | Interior carpeting w/padding @ $15/yard | 5.91 | SF | 50
23 Floor Covering | 23.2120. | Interior carpeting w/padding @ $20/yard | 7.41 | SF | 50
23 Floor Covering | 23.2130. | Interior carpeting w/padding @ $25/yard | 8.94 | SF | 50
23 Floor Covering | 23.2140. | Stair carpeting, ADD per RS (riser) | 13.5 | RS | 50
23 Floor Covering | 23.2220. | Ceramic tile floor w/board, tile @ $4.00/SF | 27.47 | SF | 50
23 Floor Covering | 23.2250.010 | Ceramic shower stall | 22.62 | SF | 50
23 Floor Covering | 23.2260. | Ceramic shower stall floor, tile @ $4.00/SF | 30.23 | SF | 50
24 Painting | 24.5250. | Paint int door w/brush, prime, 1 coat | 79.52 | EA | 50
24 Painting | 24.7010. | Paint smooth int wall, w/roller, prime, 1 coat | 1.01 | SF | 50
24 Painting | 24.7160.010 | Paint interior moulding, prime, 1 coat | 1.43 | LF | 50
24 Painting | 24.7240. | Paint smooth ceiling, w/roller, 1 coat | 0.75 | SF | 50
24 Painting | 24.1070. | Paint siding, spray, prime, 1 coat | 0.93 | SF | 50
24 Painting | 24.1280. | Paint smooth masonry, w/roller, prime, 2 coats | 2.64 | SF | 50
24 Painting | 24.1370. | Paint porous masonry, spray, prime, 2 coats | 1.53 | SF | 50
24 Painting | 24.3180. | Stain wood steps, all sides, w/brush, 3 coats | 6.35 | SF | 50
24 Painting | 24.5250. | Paint int door w/brush, prime, 1 coat | 86.73 | EA | 50
24 Painting | 24.7010. | Paint smooth int wall, w/roller, prime, 1 coat | 1.1 | SF | 50
24 Painting | 24.7160.010 | Paint interior moulding, prime, 1 coat | 1.43 | LF | 50
24 Painting | 24.7190. | Stain interior moulding, 2 coats | 1.76 | LF | 50
24 Painting | 24.7200. | Stain interior moulding, 3 coats | 2.46 | LF | 50
24 Painting | 24.7230. | Paint handrail/balusters/post, prime, 2 coats | 393.42 | EA | 50
24 Painting | 24.7240. | Paint smooth ceiling, w/roller, 1 coat | 0.81 | SF | 50
24 Painting | 24.9050. | Wallpaper, $30 per roll | 5.27 | SF | 50
24 Painting | 24.9160. | Remove old wallpaper, one layer | 0.83 | SF | 50